**GROWTH CHAMBER TERMINATION CHECKOUT**

Growth media and all containers/equipment have been removed from the chamber and the growth room.

The interior of the chamber should be washed down, vacuumed, and wiped with a 5-10% solution of commercial bleach on the inside of the chamber.

The exterior of the chamber and the immediate area next to the chamber was cleaned.

Program password has been removed and default activated.

Growth room coordinator and the facility manager have been notified of the growth chamber use termination by the PI or his/her primary contact person.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Representative Signature**